## Index
Key | Description
flows | Flows Table
streams | Streams Table
processes | Processes Table
eflows | Flows Exergy Table
estreams | Streams Exergy Table
eprocesses | Processes Exergy Table
tfp | FP Table
dcost | Process Exergy Cost
ducost | Process Unit Exergy Cost
dfcost | Flows Exergy Cost
dcfp | FP Exergy Cost Table
dcfpr | FPR Exergy Cost Table
dict | Irreversibility-Cost Table
dfict | Flows Irreversibility-Cost Table
gcost | Process Generalized Cost
gucost | Process Generalized Unit Cost
gfcost | Flows Generalized Cost
gcfp | FP Generalized Exergy Cost Table
gict | Generalized Irreversibility-Cost Table
gfict | Flows Generalized Irreversibility-Cost Table
dgn | Diagnosis Summary
mf | Malfunction Table
mfc | Malfunction Cost Table
dit | Irreversibility Variation Table

## flows
Key | From | To | Type
B1 | BLR_P1 | TRB_F1 | INTERNAL
B2 | TRB_F1 | IHE_F1 | INTERNAL
B3 | IHE_F1 | CND_F1 | INTERNAL
B4 | CND_F1 | PMP_P1 | INTERNAL
B5 | PMP_P1 | IHE_P1 | INTERNAL
B6 | IHE_P1 | BLR_P1 | INTERNAL
QBLR | ENV_R1 | BLR_F1 | RESOURCE
WP | TRB_P1 | PMP_F1 | INTERNAL
WN | TRB_P1 | ENV_O1 | OUTPUT
QCND | CND_P1 | ENV_W1 | WASTE

## streams
Key | Definition | Type
BLR_F1 | QBLR | FUEL
BLR_P1 | B1-B6 | PRODUCT
TRB_F1 | B1-B2 | FUEL
TRB_P1 | WN+WP | PRODUCT
IHE_F1 | B2-B3 | FUEL
IHE_P1 | B6-B5 | PRODUCT
PMP_F1 | WP | FUEL
PMP_P1 | B5-B4 | PRODUCT
CND_F1 | B3-B4 | FUEL
CND_P1 | QCND | PRODUCT
ENV_R1 | QBLR | RESOURCE
ENV_O1 | WN | OUTPUT
ENV_W1 | QCND | WASTE

## processes
Key | Description | Fuel | Product | Type
BLR | Steam Generator | QBLR | B1-B6 | PRODUCTIVE
TRB | Turbine | B1-B2 | WN+WP | PRODUCTIVE
IHE | Internal Heat Exchanger | B2-B3 | B6-B5 | PRODUCTIVE
PMP | Pump | WP | B5-B4 | PRODUCTIVE
CND | Condenser | B3-B4 | QCND | DISSIPATIVE

## eflows
Key | From | To | B(kW)
B1 | BLR_P1 | TRB_F1 | 104.4
B2 | TRB_F1 | IHE_F1 | 39.82
B3 | IHE_F1 | CND_F1 | 36.63
B4 | CND_F1 | PMP_P1 | 9.504
B5 | PMP_P1 | IHE_P1 | 12.05
B6 | IHE_P1 | BLR_P1 | 14.81
QBLR | ENV_R1 | BLR_F1 | 109.6
WP | TRB_P1 | PMP_F1 | 2.958
WN | TRB_P1 | ENV_O1 | 50
QCND | CND_P1 | ENV_W1 | 27.126

## estreams
Key | E(kW) | ET(kW)
BLR_F1 | 109.6 | 109.6
BLR_P1 | 89.59 | 104.4
TRB_F1 | 64.58 | 104.4
TRB_P1 | 52.958 | 52.958
IHE_F1 | 3.19 | 39.82
IHE_P1 | 2.76 | 14.81
PMP_F1 | 2.958 | 2.958
PMP_P1 | 2.546 | 12.05
CND_F1 | 27.126 | 36.63
CND_P1 | 27.126 | 27.126
ENV_R1 | 109.6 | 109.6
ENV_O1 | 50 | 50
ENV_W1 | 27.126 | 27.126

## eprocesses
Key | F(kW) | P(kW) | I(kW) | k(J/J)
BLR | 109.6 | 89.59 | 20.01 | 1.2234
TRB | 64.58 | 52.958 | 11.622 | 1.2195
IHE | 3.19 | 2.76 | 0.43 | 1.1558
PMP | 2.958 | 2.546 | 0.412 | 1.1618
CND | 27.126 | 27.126 | 0 | 1
ENV | 109.6 | 50 | 59.6 | 2.192

## tfp
Key | BLR | TRB | IHE | PMP | CND | ENV | Total
BLR | 0 | 60.9691 | 3.0116 | 0 | 25.6093 | 0 | 89.59
TRB | 0 | 0 | 0 | 2.958 | 0 | 50 | 52.958
IHE | 0 | 1.8783 | 0.092779 | 0 | 0.78895 | 0 | 2.76
PMP | 0 | 1.7326 | 0.085586 | 0 | 0.72777 | 0 | 2.546
CND | 0 | 0 | 0 | 0 | 0 | 27.126 | 27.126
ENV | 109.6 | 0 | 0 | 0 | 0 | 0 | 109.6
Total | 109.6 | 64.58 | 3.19 | 2.958 | 27.126 | 77.126 | 284.58

## dcost
Key | P*(kW) | Pe*(kW) | Pr*(kW) | F*(kW) | R*(kW)
BLR | 121.487 | 109.6 | 11.887 | 109.6 | 11.887
TRB | 89.8229 | 80.3412 | 9.4817 | 89.4373 | 0.38563
IHE | 4.6733 | 3.9685 | 0.70475 | 4.4179 | 0.25544
PMP | 5.2619 | 4.4875 | 0.77435 | 5.0171 | 0.24475
CND | 37.567 | 33.7463 | 3.8207 | 37.567 | 0

## ducost
Key | kP*(J/J) | kPe*(J/J) | kPr*(J/J) | kF*(J/J) | kR*(J/J) | k(J/J)
BLR | 1.356 | 1.2234 | 0.13268 | 1 | 0.13268 | 1.2234
TRB | 1.6961 | 1.5171 | 0.17904 | 1.3849 | 0.0072818 | 1.2195
IHE | 1.6932 | 1.4379 | 0.25534 | 1.3849 | 0.092551 | 1.1558
PMP | 2.0667 | 1.7626 | 0.30415 | 1.6961 | 0.096131 | 1.1618
CND | 1.3849 | 1.2441 | 0.14085 | 1.3849 | 0 | 1

## dfcost
Key | B(kW) | B*(kW) | Be*(kW) | Br*(kW) | k*(J/J) | ke*(J/J) | kr*(J/J)
B1 | 104.4 | 144.5843 | 129.8796 | 14.7047 | 1.3849 | 1.2441 | 0.14085
B2 | 39.82 | 55.147 | 49.5384 | 5.6086 | 1.3849 | 1.2441 | 0.14085
B3 | 36.63 | 50.7291 | 45.5698 | 5.1593 | 1.3849 | 1.2441 | 0.14085
B4 | 9.504 | 13.1622 | 11.8235 | 1.3386 | 1.3849 | 1.2441 | 0.14085
B5 | 12.05 | 18.424 | 16.311 | 2.113 | 1.529 | 1.3536 | 0.17535
B6 | 14.81 | 23.0973 | 20.2796 | 2.8177 | 1.5596 | 1.3693 | 0.19026
QBLR | 109.6 | 109.6 | 109.6 | 0 | 1 | 1 | 0
WP | 2.958 | 5.0171 | 4.4875 | 0.52961 | 1.6961 | 1.5171 | 0.17904
WN | 50 | 84.8058 | 75.8537 | 8.9521 | 1.6961 | 1.5171 | 0.17904
QCND | 27.126 | 37.567 | 33.7463 | 3.8207 | 1.3849 | 1.2441 | 0.14085

## dcfp
Key | BLR | TRB | IHE | PMP | CND | ENV | Total
BLR | 0 | 74.5866 | 3.6843 | 0 | 31.3291 | 0 | 109.6
TRB | 0 | 0 | 0 | 4.4875 | 0 | 75.8537 | 80.3412
IHE | 0 | 2.7007 | 0.13341 | 0 | 1.1344 | 0 | 3.9685
PMP | 0 | 3.0539 | 0.15085 | 0 | 1.2828 | 0 | 4.4875
CND | 0 | 0 | 0 | 0 | 0 | 33.7463 | 33.7463
ENV | 109.6 | 0 | 0 | 0 | 0 | 0 | 109.6
Total | 109.6 | 80.3412 | 3.9685 | 4.4875 | 33.7463 | 109.6 | 341.7436

## dcfpr
Key | BLR | TRB | IHE | PMP | CND | ENV | Total
BLR | 0 | 82.6761 | 4.0839 | 0 | 34.727 | 0 | 121.487
TRB | 0 | 0 | 0 | 5.0171 | 0 | 84.8058 | 89.8229
IHE | 0 | 3.1803 | 0.1571 | 0 | 1.3359 | 0 | 4.6733
PMP | 0 | 3.5809 | 0.17688 | 0 | 1.5041 | 0 | 5.2619
CND | 11.887 | 0.38563 | 0.25544 | 0.24475 | 0 | 24.7942 | 37.567
ENV | 109.6 | 0 | 0 | 0 | 0 | 0 | 109.6
Total | 121.487 | 89.8229 | 4.6733 | 5.2619 | 37.567 | 109.6 | 368.412

## dict
Key | BLR | TRB | IHE | PMP | CND
BLR | 0.22335 | 0.27698 | 0.26252 | 0.3218 | 0.22713
TRB | 0 | 0.22844 | 0.0085165 | 0.26541 | 0.0073685
IHE | 0 | 0.005952 | 0.16144 | 0.0069152 | 0.0048809
PMP | 0 | 0.0057029 | 0.0054052 | 0.16845 | 0.0046766
CND | 0.13268 | 0.17904 | 0.25534 | 0.30415 | 0.14085
ENV | 1 | 1 | 1 | 1 | 1
Total | 1.356 | 1.6961 | 1.6932 | 2.0667 | 1.3849

## dfict
Key | B1 | B2 | B3 | B4 | B5 | B6 | QBLR | WP | WN | QCND
BLR | 0.22713 | 0.22713 | 0.22713 | 0.22713 | 0.24713 | 0.25 | 0 | 0.27698 | 0.27698 | 0.22713
TRB | 0.0073685 | 0.0073685 | 0.0073685 | 0.0073685 | 0.061889 | 0.051942 | 0 | 0.22844 | 0.22844 | 0.0073685
IHE | 0.0048809 | 0.0048809 | 0.0048809 | 0.0048809 | 0.0053107 | 0.034407 | 0 | 0.005952 | 0.005952 | 0.0048809
PMP | 0.0046766 | 0.0046766 | 0.0046766 | 0.0046766 | 0.039279 | 0.032966 | 0 | 0.0057029 | 0.0057029 | 0.0046766
CND | 0.14085 | 0.14085 | 0.14085 | 0.14085 | 0.17535 | 0.19026 | 0 | 0.17904 | 0.17904 | 0.14085
ENV | [6 empty] | 1 | 1 | 1 | 1 | bar: B1 to B6
Total | 1.3849 | 1.3849 | 1.3849 | 1.3849 | 1.529 | 1.5596 | 1 | 1.6961 | 1.6961 | 1.3849

## gcost
Key | CP(c/h) | CPe(c/h) | CPz(c/h) | CPr(c/h) | CF(c/h) | CR(c/h) | Z(c/h)
BLR | 13.644 | 1.096 | 6.5113 | 6.0367 | 1.096 | 6.0367 | 6.5113
TRB | 171.7783 | 0.80341 | 166.1597 | 4.8152 | 19.835 | 0.19584 | 151.7475
IHE | 3.6686 | 0.039685 | 3.271 | 0.3579 | 0.97977 | 0.12972 | 2.5591
PMP | 11.8336 | 0.044875 | 11.3955 | 0.39325 | 9.5948 | 0.12429 | 2.1145
CND | 19.0782 | 0.33746 | 16.8004 | 1.9403 | 8.3314 | 0 | 10.7467

## gucost
Key | cP(c/kWh) | cPe(c/kWh) | cPz(c/kWh) | cPr(c/kWh) | cF(c/kWh) | cR(c/kWh)
BLR | 0.2557 | 0.012234 | 0.090246 | 0.15322 | 0.01 | 0.15322
TRB | 3.4524 | 0.015171 | 3.2305 | 0.20676 | 0.44858 | 0.0084092
IHE | 2.3627 | 0.014379 | 2.0534 | 0.29488 | 0.44858 | 0.10688
PMP | 5.1607 | 0.017626 | 4.7918 | 0.35123 | 3.4524 | 0.11101
CND | 1.5993 | 0.012441 | 1.4242 | 0.16266 | 0.44858 | 0

## gfcost
Key | B(kW) | C(c/h) | CE(c/h) | Cz(c/h) | Cr(c/h) | c(c/kWh) | ce(c/kWh) | cz(c/kWh) | cr(c/kWh)
B1 | 104.4 | 46.8319 | 1.2988 | 28.5518 | 16.9813 | 0.44858 | 0.012441 | 0.27349 | 0.16266
B2 | 39.82 | 17.8625 | 0.49538 | 10.8902 | 6.477 | 0.44858 | 0.012441 | 0.27349 | 0.16266
B3 | 36.63 | 16.4315 | 0.4557 | 10.0178 | 5.9581 | 0.44858 | 0.012441 | 0.27349 | 0.16266
B4 | 9.504 | 4.2633 | 0.11824 | 2.5992 | 1.5459 | 0.44858 | 0.012441 | 0.27349 | 0.16266
B5 | 12.05 | 17.4024 | 0.16311 | 14.7992 | 2.4401 | 1.4442 | 0.013536 | 1.2282 | 0.2025
B6 | 14.81 | 23.9235 | 0.2028 | 20.4667 | 3.254 | 1.6154 | 0.013693 | 1.382 | 0.21972
QBLR | 109.6 | 1.096 | 1.096 | 0 | 0 | 0.01 | 0.01 | 0 | 0
WP | 2.958 | 10.2123 | 0.044875 | 9.5558 | 0.6116 | 3.4524 | 0.015171 | 3.2305 | 0.20676
WN | 50 | 172.6215 | 0.75854 | 161.5249 | 10.3381 | 3.4524 | 0.015171 | 3.2305 | 0.20676
QCND | 27.126 | 43.3832 | 0.33746 | 38.6335 | 4.4122 | 1.5993 | 0.012441 | 1.4242 | 0.16266

## gcfp
Key | BLR | TRB | IHE | PMP | CND | ENV | Total
BLR | 0 | 15.59 | 0.77008 | 0 | 6.5484 | 0 | 22.9085
TRB | 0 | 0 | 0 | 10.2123 | 0 | 172.6215 | 182.8338
IHE | 0 | 4.4378 | 0.21921 | 0 | 1.864 | 0 | 6.521
PMP | 0 | 8.9416 | 0.44168 | 0 | 3.7558 | 0 | 13.1391
CND | 13.7273 | 0.44533 | 0.29499 | 0.28264 | 0 | 28.6329 | 43.3832
ENV | 7.6073 | 151.7475 | 2.5591 | 2.1145 | 10.7467 | 0 | 174.7751
Total | 21.3346 | 181.1622 | 4.2851 | 12.6095 | 22.915 | 201.2544 | 443.5606

## gict
Key | BLR | TRB | IHE | PMP | CND
BLR | 0.018077 | 0.022418 | 0.021247 | 0.026045 | 0.018383
TRB | 0 | 0.58766 | 0.021908 | 0.68275 | 0.018955
IHE | 0 | 0.0087657 | 0.23776 | 0.010184 | 0.0071882
PMP | 0 | 0.019735 | 0.018705 | 0.58292 | 0.016183
CND | 0.15182 | 0.20487 | 0.29218 | 0.34802 | 0.16117
ENV | 0.080936 | 2.5724 | 1.4727 | 3.4605 | 1.3628
Total | 0.25084 | 3.4159 | 2.0645 | 5.1105 | 1.5847

## gfict
Key | B1 | B2 | B3 | B4 | B5 | B6 | QBLR | WP | WN | QCND
BLR | 0.018383 | 0.018383 | 0.018383 | 0.018383 | 0.020002 | 0.020234 | 0 | 0.022418 | 0.022418 | 0.018383
TRB | 0.018955 | 0.018955 | 0.018955 | 0.018955 | 0.15921 | 0.13362 | 0 | 0.58766 | 0.58766 | 0.018955
IHE | 0.0071882 | 0.0071882 | 0.0071882 | 0.0071882 | 0.0078212 | 0.050672 | 0 | 0.0087657 | 0.0087657 | 0.0071882
PMP | 0.016183 | 0.016183 | 0.016183 | 0.016183 | 0.13593 | 0.11408 | 0 | 0.019735 | 0.019735 | 0.016183
CND | 0.16117 | 0.16117 | 0.16117 | 0.16117 | 0.20065 | 0.21771 | 0 | 0.20487 | 0.20487 | 0.16117
ENV | 0.21209 | 0.21209 | 0.21209 | 0.21209 | 0.89844 | 1.0055 | 0.01 | 2.5724 | 2.5724 | 1.3628
Total | 0.43397 | 0.43397 | 0.43397 | 0.43397 | 1.422 | 1.5418 | 0.01 | 3.4159 | 3.4159 | 1.5847

## dgn
Key | MF(kW) | DI(kW) | DPs(kW) | MF*(kW) | MR*(kW) | DPs*(kW)
BLR | -3.5252 | 0.37 | 0 | -3.5252 | -2.4752 | 0
TRB | -0.41363 | -0.287 | 0 | -0.38476 | 0.066027 | 0
IHE | -0.32751 | -0.127 | 0 | -0.40334 | -0.24913 | 0
PMP | -0.015529 | 0.067 | 0 | -0.023559 | -0.0187 | 0
CND | 0 | 0 | 17.787 | 0.018857 | 0.010886 | 24.7942
ENV | -4.2819 | 0.023 | 17.787 | -4.318 | -2.6662 | 24.7942

## mf
| BLR | TRB | IHE | PMP | CND | DPs
BLR | 0 | -1.0035 | -0.32855 | 0 | -0.089045 | 0
TRB | 0 | 0 | 0 | -0.015529 | 0 | 0
IHE | 0 | 0.60615 | 0.0099941 | 0 | 0.0898 | 0
PMP | 0 | -0.016295 | -0.008951 | 0 | -0.00075501 | 0
CND | 0 | 0 | 0 | 0 | 0 | 17.787
ENV | -3.5252 | 0 | 0 | 0 | 0 | 0
Total | -3.5252 | -0.41363 | -0.32751 | -0.015529 | 0 | 17.787

## mfc
| BLR | TRB | IHE | PMP | CND | DCPs
BLR | 0 | -0.070247 | -0.07364 | -0.0043013 | 0.0034428 | 0
TRB | 0 | 0.00083747 | -0.0022906 | -0.0035476 | 0.00056439 | 0
IHE | 0 | 0.097744 | 0.0015515 | -9.2432e-05 | 0.014492 | 0
PMP | 0 | 0.00053152 | -0.0014538 | -8.8562e-05 | 0.0003582 | 0
CND | -2.4752 | 0.066027 | -0.24913 | -0.0187 | 0.010886 | 24.7942
MF | -3.5252 | -0.41363 | -0.32751 | -0.015529 | 0 | 0
Total | -6.0005 | -0.31873 | -0.65247 | -0.042259 | 0.029743 | 24.7942

## dit
| BLR | TRB | IHE | PMP | CND | DPs
BLR | 0 | 0 | 0 | 0 | 0 | 0
TRB | -0.070247 | 0.00083747 | 0.097744 | 0.00053152 | 0 | 0
IHE | -0.07364 | -0.0022906 | 0.0015515 | -0.0014538 | 0 | 0
PMP | -0.0043013 | -0.0035476 | -9.2432e-05 | -8.8562e-05 | 0 | 0
CND | 0.0034428 | 0.00056439 | 0.014492 | 0.0003582 | 0 | 17.787
ENV | 4.04 | 0.13106 | 0.086816 | 0.083182 | 0 | 0
MF | -3.5252 | -0.41363 | -0.32751 | -0.015529 | 0 | 0
Total | 0.37 | -0.287 | -0.127 | 0.067 | 0 | 17.787